**Wall-mounted pre-rinse set with mixer**

Without bib tap

Black flexible and scale-resistant hand spray

Reference: **5636**

Specification description

Complete pre-rinse set without bib tap suitable for intensive use in professional kitchens.

Wall-mounted mixer, F3/4" with adjustable centres with:

- valve heads with reinforced mechanisms and ergonomic controls.

- M1/2" M3/4" offset connectors.

- non-return valves integrated in the mixer.

Black hand spray with adjustable jet and 9 lpm flow rate at the outlet (ref. 433010).

Scale-resistant hand spray with shock-resistant tip.

Black, reinforced, food-grade flexible hose L. 0.95m.

3/4" stainless steel column.

Adjustable wall bracket.

Stainless steel spring guide.

Pre-rinse set.

30-year warranty.