Food-grade flexible hose for catering

Black, L.0.95m

Reference: 433095CH

Specification description

Black, reinforced food-grade flexible hose L. 0.95m:

PVC sheath on stress area.

Anti-torsion rotating nut.

Flexible hose will withstand temperatures up to 70°C and 5 bar maximum pressure.

Spare part for repairing pre-rinse set components.