Food-grade flexible hose for catering

White, L. 1.20m

Reference: 433120

Specification description

White, reinforced food-grade flexible hose L. 1.20m.

PVC sheath on stress area.

Anti-torsion rotating nut.

Flexible hose will withstand temperatures up to 70°C and 5 bar maximum pressure.

Spare part for repairing pre-rinse set components.