Food-grade flexible hose for catering

White, L. 2.00m

Reference: 433200

Specification description

White, reinforced food-grade flexible hose L. 2.00m.

PVC sheath on stress area.

Anti-torsion rotating nut.

Flexible hose will withstand temperatures up to 70°C and 5 bar maximum pressure.

Spare part for repairing pre-rinse set components.