Star-shaped flow straightener

F22/100

50 per pack

Reference: 921022.50P

Specification description

Star-shaped flow straightener with no grid, reduces bacterial development: no water retention or build-up of impurities.

F22/100.

Supplied in packs of 50.