**Telescopic extension**

For stainless steel shower panel

W. 218mm, H. 350-550mm

Reference: **790153**

Specification description

Telescopic extension for satin stainless steel shower panel.

Protects the pipework between the top of the shower panel and the ceiling.

W. 218mm.

Height adjustment from 350 - 550mm.

Stainless steel polished satin finish.

30-year warranty.