**Rectangular stainless steel mirror, H. 600mm**

Unbreakable mirror

"Mirror" polished 304 stainless steel

Reference: **3458**

Specification description

Wall-mounted rectangular mirror made from "mirror" polished bacteriostatic 304 stainless steel.

Reinforced by a concealed solid 10mm thick PVC plate.

5 fixing points. Concealed fixings.

For installation on a flat surface.

Unbreakable mirror.

Dimensions: 10 x 485 x 585mm.

30-year warranty.