Stainless steel toilet signs

WC sign

Self-adhesive

Reference: 510154S

Specification description

Self-adhesive toilet sign.

Polished satin 304 stainless steel.

Stainless steel thickness 1.2mm.

"WC" sign.

Dimensions: 125 x 125mm.

30-year warranty.