Recessed combi paper towel dispenser/bin - 10L

For recessed installation

Polished satin 304 stainless steel

Reference: 510714S

Specification description

Recessed combi paper towel dispenser/bin.

Polished satin bacteriostatic 304 stainless steel.

With locking door and standard DELABIE key.

Concealed fixings.

Dispenser capacity: 400 - 600 towels.

Waste bin capacity: 10 litres.

Stainless steel thickness: 1.2mm.

Dimensions: 125 x 330 x 790mm.

30-year warranty.