Floor-standing disposal sink

Polished satin 304 stainless steel

Reference: 180150

Specification description

Floor-standing disposal sink.

Bacteriostatic 304 stainless steel. Polished satin finish.

Stainless steel thickness: 1mm.

One-piece pressed bowl, seam-free.

Smooth surface is easy to clean.

Adjustable feet height up to 40mm.

Supplied with 1½" waste. Without overflow.

Hinged stainless steel bucket grid.

Weight: 10.6kg.

30-year warranty.

[Formerly ref: 0710150000]