**CF comfort nozzle**

10 lpm

Reference: **CF**

Specification description

Hostaform® scale-resistant nozzle.

Comfort jet at 10 lpm at 3 bar.

Can replace nozzles for the following shower heads: ROUND, TONIC JET and GYM.

Add "CF" to the end of the reference.

30-year warranty.