Siphon cover for FRAJU washbasin

Polished satin 304 stainless steel

Reference: 100930

Specification description

Siphon cover for FRAJU washbasin.

Bacteriostatic 304 stainless steel.

Stainless steel thickness: 1.2mm.

30-year warranty.