3000mm splashback for lavabo CANAL wash trough

Polished satin 304 stainless steel - L. 3000mm

Reference: 100310

Specification description

Splashback for CANAL wash trough.

Bacteriostatic 304 stainless steel.

Polished satin stainless steel.

Stainless steel thickness: 1.2mm.

Length: 3000mm.