Bare LONG LIFE valve head

For DELABIE controls

1/2" (15/21)

Reference: 366015.2P

Specification description

"Long Life" valve head.

Bare valve head with no screw or control knob.

To replace worn valve heads without changing the original DELABIE control knob.

1/2" (15/21).

Height 26mm, Depth 21-26mm.

30-year warranty.