ECO aerator

1.4 lpm

M24/100

Reference: 925724.2P

Specification description

Rain effect aerator.

1.4 lpm.

M24/100 to insert in an aerator carrier.

Complies with environmental label requirements.

Supplied in packs of 2.

30-year warranty.