Pump

For 51058X soap dispensers

Reference: 51058M

Specification description

Pump mechanism.

Mechanical pump for soap dispenser with soft-touch operation.

Compatible with soap dispensers with references 51058...

Dimensions: 55,4mm x 36mm, Ø 26,5mm