PVC tube with non-return valve

For soap dispenser 729XXX

Reference: 729TUB

Specification description

PVC tube with non-return valve + non-return valve docking port

For mechanisms with a soap dispenser pump.

Compatible with soap dispensers 729XXX.

Tube dimensions: 1,200mm.