1L Tank

For soap dispensers 729XXX

Reference: 729501

Specification description

Tank for soap dispensers.

1L capacity.

F1/2" unions.

Dimensions: 225mm , Ø 89mm.

Compatible with 729XXX soap dispensers.