**Removable drip tray**

Drip tray for SPEEDJET 2 anthracite - 510624C

Metallised anthracite

Reference: **510624RC**

Specification description

Metallised anthracite drip tray.

Removable drip tray prevents any water dripping onto the wall or floor.

For anthracite SPEEDJET 2 reference 510624C.

Dimensions: 108 x 115 x 61mm.