Ø35mm ceramic sequential cartridge

Cartridge with base

With link

Reference: N243I

Specification description

Ø35mm ceramic sequential cartridge with base.

Cartridge for wall-mounted washbasin mixers 2437 and 2437S (sold before 01/2026).