Thermostatic cartridge for showers

SECURITHERM thermostatic cartridge

For H9739 range

Reference: N97L

Specification description

Thermostatic cartridge for shower mixers.

SECURITHERM cartridge for H9739/H9739S ranges.