**Electronic control unit**

Standard electronic control unit for basin taps/mixers

Mains supply - 230/12V

Reference: **495444BC**

Specification description

Electronic control unit.

Standard electronic control unit with transformer for basin mixers/taps.

With periodic duty flush.

Dimensions: 110 x 75 x 41mm.