**Electronic control unit**

For TEMPOMATIC 3

Batteries

Reference: **492446**

Specification description

Electronic control unit.

For TEMPOMATIC 3.

Works with a 6V battery supply.

Dimensions: 57mm, Ø 49mm.