Swivelling, tubular spout

Over spout

H.130mm L.300mm

Reference: 963300145F

Specification description

Tubular, swivelling over spout in chrome plated brass, Ø22mm, with pre-mounted flow straightener.

Spout H.130mm L.300mm with 3/4" nut.

For sink mixers