Swivelling tubular spout

Over spout

H.135mm L.200mm

Reference: 963200145F

Specification description

Ø22mm swivelling tubular over spout in chrome-plated brass with pre-mounted flow straightener.

Spout H.135mm and L.200mm with nut 3/4".

For sink mixers and Catering mixers.