**Swivelling, tubular spout**

Over spout

H.230 mm L.200mm

Reference: **963200245F**

Specification description

Swivelling, tubular over spout in chrome plated brass, Ø22mm.

Spout with 3 lpm flow straightener, flow rate is adjustable.

Spout H.230mm L.200mm with 3/4" nut.

For sink mixers.