Swivelling, tubular spout

Over spout

H.105mm L.150mm

Reference: 963150125F

Specification description

Swivelling, tubular over spout in chrome plated brass, Ø22mm.

Spout with 3 lpm flow straightener, flow rate is adjustable.

Spout H.105mm L.150mm with 3/4" nut.

For basin mixers.