Electronic control unit

For TEMPOMATIC basin or shower

230/12V mains supply

Reference: 495445BC

Specification description

Electronic control unit.

Electronic unit for TEMPOMATIC basin or shower controls.

With duty flush feature.

Works with a 230/12V mains supply.

Dimensions: 110 x 75 x 41mm.