Power supply

For TEMPOMATIC 4 basin taps - after February 2016

Recessed - mains supply - 230/6V

Reference: 490240

Specification description

Power supply.

Recessed, for TEMPOMATIC 4.

Operates with 230/6V mains supply.

For TEMPOMATIC 4 basin taps dating from after February 2016.

Dimensions: 50 x 50 x 25mm.