Lithium batteries

For basins, showers, urinals and WCs

3V - CR 123

Reference: 990123

Specification description

Lithium batteries - packs of 2.

3V power supply.

CR 123 batteries.

For basin, shower, urinal and WC electronic control units.

Dimensions: 34mm, Ø 17mm.