Pre-rinse long column

With bib tap and swivelling spout

Reference: 433800

Specification description

Pre-rinse long brass column, H. 816mm.

Bib tap with valve head with reinforced mechanism and ergonomic control.

Swivelling spout L. 200mm.

Column suitable for intensive use in professional kitchens.