Solenoid valve

For TEMPOMATIC 1 and 2, and BINOPTIC 1 basin taps

MM3/8" - 6V - With filter

Reference: 495606

Specification description

Solenoid valve with filter.

For TEMPOMATIC 1 and 2, and BINOPTIC 1 (previous design).

Unions MM3/8".

Works with a 6V power supply.

Dimensions: 78,2 x 63,5mm.