**Electronic control unit**

For dual control flush type 463...

230/12V - with transformer

Reference: **463000**

Specification description

Electronic control unit.

For dual control flush type 463...

Multifunction with transformer.

Works with 230/12V mains supply.

Dimensions: 105 x 105mm.