**Flat filter**

10 units

Reference: **60212.10P**

Specification description

Flat filter with 0.5mm mesh for taps/mixers with 1/2" nut.

Integrated filter seal.

Supplied in packs of 10.