Time flow cartridge

For TEMPOMIX basin

Time flow ~7 seconds

Reference: 743795

Specification description

Time flow cartridge for TEMPOMIX basin mixers and taps.

For references 795000 and 795100 old design.

Time flow ~7 seconds.

Adjustable flow rate from 1.4 to 6 lpm.