Flow limiter

5 lpm

Reference: 900005

Specification description

5 lpm flow limiter for mechanical basin and shower mixers