Non-return valve with flow rate regulator

6 lpm

Reference: 900007

Specification description

Non-return valve with 6 lpm flow rate regulator for basin and shower mixers with pressure-balancing.