F3/8" PEX flexible hoses

M11x1, L.376mm

2 per pack

Reference: FLEX79508

Specification description

F3/8” flexible hoses M11x1, L. 376mm for Professional Catering water controls.

Withstand thermal and chlorine shocks: maximum temperature 90°C (recommended 65°C).

Maximum pressure: 10 bar.

2 per pack.