Swivelling, tubular spout

Over spout

H.235mm L.300mm

Reference: 963300245G

Specification description

Tubular swivelling over spout in chrome-plated brass, Ø22mm, with star-shaped brass flow straightener.

Spout H.235mm L.300mm with nut 3/4".

Smooth interior reduces niches where bacteria can develop.

For Professional Catering mixers: refs. 5603, 5610 and 5612.