Flat fixed spout

Under spout

H.45mm L.200mm

Reference: 947200

Specification description

Flat fixed under spout in chrome-plated brass, Ø22mm.

Spout H.45mm L.200mm with pre-mounted flow straightener and nut 3/4".

Smooth interior reduces niches where bacteria can develop.

For wall-mounted mixers, for 2437 and 2455 product ranges.