Be-Line® shower stool

Black seat

304 stainless steel structure

Reference: 511418BK

Specification description

Be-Line® shower stool.

Suitable for intensive use in public places and hospitals.

Stool for people with reduced mobility.

Wide model with ergonomic handles.

Solid black seat made from high strength polymer.

Anti-bacterial treatment: optimum protection against bacterial development.

Non-slip surface.

Good resistance to Betadine®.

304 stainless steel structure Ø 18 x 2mm.

Dimensions: 360 x 540 x 480mm.

Seat height: 480mm.

Tested to over 200kg. Maximum recommended user weight: 135kg.

Black plastic protective caps on feet.

Shower stool with 30-year warranty.