Time flow cartridge

For TEMPOSTOP washbasin and shower

Time flow ~15 seconds

Reference: 743310

Specification description

Time flow cartridge for TEMPOSTOP washbasin and shower.

Time flow ~15 seconds.