Wall mounted elbow outlet

For shower hoses

MM1/2"

Reference: 868126

Specification description

Wall mounted elbow outlet for shower hoses.

Wall-mounted elbow with escutcheon.

Chrome-plated brass.

MM1/2".

30-year warranty.