Time flow cartridge

For TEMPOMIX recessed shower

Time flow ~30 seconds

Reference: 743797

Specification description

Time flow cartridge for TEMPOMIX recessed shower (old design).

Time flow ~30 seconds.