Time flow cartridge

For TEMPOMIX 3 shower

Time flow ~30 seconds

Reference: 743799

Specification description

Time flow cartridge for TEMPOMIX 3 shower.

Time flow ~30 seconds.

Adjustable flow rate.