HIGHFLOW Compact air pulse hand dryer, bright polished

Air pulse

Inox 304 poli brillant

Reference: 510625P

Specification description

HIGHFLOW Compact air pulse hand dryer.

Model suitable for locations with low to medium footfall.

Robust model.

Lit central nozzle focuses the pulsed air onto hands at over 360km/h.

High speed electrical hand dryer: dries in 10 - 12 seconds.

Choice of warm or cold air via a concealed switch.

Automatic hand dryer, infrared detection.

Intelligent technology: stops automatically when hands are removed.

Anti-blocking: stops automatically if used continuously for more than 60 seconds.

Bacteriostatic bright polished 304 stainless steel.

Easy to clean: one-piece cover.

Stainless steel thickness: 1mm.

Airflow: 39 l/second.

Air speed: 360km/h.

Low energy consumption: 1,350W.

220-240V~/50/60Hz.

Noise level: 70 dBA.

Dimensions: 173 x 256 x 152mm.

Weight: 3.1kg.

Class I, IP23.

CE marked.

3-year warranty.