Pre-rinse short column

With bib tap and telescopic spout

Reference: 433402

Specification description

Pre-rinse short brass column, H. 516mm.

With bib tap and telescopic spout L. 200mm-290mm.

Column suitable for intensive use in professional kitchens.