50mm extension

For time flow taps

Ø 48mm, L. 50mm

Reference: 822741

Specification description

For wall-mounted time flow taps.

Extension in chrome-plated brass.

L. 50mm.

Cut-to-size threaded rod 85mm long, Ø 1/2".

30-year warranty.