**Push button for TEMPOSOFT 2 urinal**

For TEMPOSOFT 2 urinal

Reference: **740BUT**

Specification description

Push button for TEMPOSOFT 2 urinal.

Ø 35mm.

Supplied with grey marker fitted.