Electronic control unit

For TEMPOMATIC 4

Mains supply

Reference: 490452T

Specification description

Electronic control unit.

For TEMPOMATIC 4.

Operates with mains supply.

Dimensions: 56 x 45mm, Ø 51mm.